## Export
part_code | Part_Description | DamageCode | RepairCode | Repair_description | Threshold | FirstQuantity | FirstHour | FirstMaterial | AdditionalQuantity | AdditionalHour | AdditionalMaterial | CurrencyCode
09-00375-00 | Battery, RTC | BR | RP | Replace | 1 | 1 | 1.25 | 86.82 | 0 | 0 | 0 | USD
10-00332-21SV | Transformer, Base Unit | BR | RP | Replace | 1 | 1 | 0.75 | 192.28 | 0 | 0 | 0 | USD
10-00332-21SV | Transformer, Base Unit | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 |  |  |  | EUR
10-00431-11 | Cover, Contactor | BR | RP | Replace | 1 | 1 | 0.25 | 5.46 | 1 | 0.25 | 5.46 | USD
10-00431-20 | Contactor 12A | MS | IT | Insert | 1 | 1 | 0.38 | 42.39 |  |  |  | USD
10-00431-20 | Contactor 12A | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
10-00431-20 | Contactor 12A | BR | RP | Replace | 1 | 1 | 0.75 | 42.39 |  |  |  | USD
10-00431-20 | Contactor 12A | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 |  |  |  | EUR
10-00439-03 | Transformer, Current Sensing (CS) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
10-00439-03 | Transformer, Current Sensing (CS) | BR | RP | Replace | 1 | 1 | 0.5 | 27.26 |  |  |  | USD
10-00439-03 | Transformer, Current Sensing (CS) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
10-00526-00 | Power Filter | MS | IT | Insert | 1 | 1 | 0.25 | 19.16 |  |  |  | USD
10-00526-00 | Power Filter | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | USD
10-00526-00 | Power Filter | BR | RP | Replace | 1 | 1 | 0.5 | 19.16 |  |  |  | USD
10-00526-00 | Power Filter | CO | RP | Replace | 1 | 1 | 0.5 | 19.16 |  |  |  | USD
10-00526-00 | Power Filter | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | USD
10-00526-00 | Power Filter | TR | TC | Test/Calibrate | 1 | 1 | 0.25 | 0 |  |  |  | USD
10-01129-07SV | Switch, Toggle (On-Off) | BR | RP | Replace | 1 | 1 | 0.5 | 46.71 | 0 | 0 | 0 | USD
10-01129-20 | Nut, Hex 15/32-32 Un-2B | BR | RP | Replace | 1 | 1 | 0.25 | 0.64 | 1 | 0.25 | 0.64 | USD
12-00309-08 | Switch, High Pressure (HPS) | MS | IT | Insert | 1 | 1 | 0.5 | 54.75 | 0 | 0 | 0 | USD
12-00309-08 | Switch, High Pressure (HPS) | LO | RE | Resecure | 1 | 1 | 0.5 | 0 | 0 | 0 | 0 | EUR
12-00309-08 | Switch, High Pressure (HPS) | BR | RP | Replace | 1 | 1 | 0.5 | 54.75 | 0 | 0 | 0 | USD
12-00309-08 | Switch, High Pressure (HPS) | CH | RR | R&R or Reinstall | 1 | 1 | 0.5 | 2 |  |  |  | EUR
12-00352-11 | Transducer, Pressure (CPT/DPT) | MS | IT | Insert | 1 | 1 | 0.25 | 46.13 | 0 | 0 | 0 | USD
12-00352-11 | Transducer, Pressure (CPT/DPT) | BR | RP | Replace | 1 | 1 | 0.5 | 46.13 | 0 | 0 | 0 | USD
12-00352-11 | Transducer, Pressure (CPT/DPT) | CH | RR | R&R or Reinstall | 1 | 1 | 0.5 | 2 |  |  |  | EUR
12-00395-01SV | Sensor, Supply, Assembly (SRS & STS) | MS | IT | Insert | 1 | 1 | 0.38 | 25.12 | 1 | 0.38 | 25.12 | USD
12-00395-01SV | Sensor, Supply, Assembly (SRS & STS) | LO | RE | Resecure | 1 | 1 | 0.5 | 0 | 1 | 0.5 | 0 | EUR
12-00395-01SV | Sensor, Supply, Assembly (SRS & STS) | BR | RP | Replace | 1 | 1 | 0.75 | 25.12 | 1 | 0.75 | 25.12 | USD
12-00433-09RP | Module, Display (LCD) (New) | MS | IT | Insert | 1 | 1 | 0.25 | 495.67 |  |  |  | USD
12-00433-09RP | Module, Display (LCD) (New) | BR | RP | Replace | 1 | 1 | 0.5 | 495.67 | 0 | 0 | 0 | USD
12-00433-09RP | Module, Display (LCD) (New) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
12-00495-02SV | Sensor, Ambient / Defrost kit (AMBS / DTS) | MS | IT | Insert | 1 | 1 | 0.25 | 18.57 | 1 | 0.25 | 18.57 | USD
12-00495-02SV | Sensor, Ambient / Defrost kit (AMBS / DTS) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | EUR
12-00495-02SV | Sensor, Ambient / Defrost kit (AMBS / DTS) | BR | RP | Replace | 1 | 1 | 0.5 | 18.57 | 1 | 0.5 | 18.57 | USD
12-00495-02SV | Sensor, Ambient / Defrost kit (AMBS / DTS) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 | 1 | 0.5 | 0 | EUR
12-00500-01SV | Sensor, Combi / Return Assembly (RRS & RTS) | MS | IT | Insert | 1 | 1 | 0.38 | 16.36 | 0 | 0 | 23.63 | USD
12-00500-01SV | Sensor, Combi / Return Assembly (RRS & RTS) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 0 | 0 | 0 | EUR
12-00500-01SV | Sensor, Combi / Return Assembly (RRS & RTS) | BR | RP | Replace | 1 | 1 | 0.75 | 16.36 | 0 | 0 | 23.63 | USD
12-00500-01SV | Sensor, Combi / Return Assembly (RRS & RTS) | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 |  |  |  | EUR
12-50089-02PK4 | Sensor, USDA (15M) | ZZ | IN | Install | 1 | 1 | 0.4 | 32.11 | 1 | 0.4 | 32.11 | USD
12-50089-02PK4 | Sensor, USDA (15M) | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
12-55016 | Controller ML5 Scroll (Warranty) | MS | IT | Insert | 1 | 1 | 0.38 | 1656.71 |  |  |  | EUR
12-55016 | Controller ML5 Scroll (Warranty) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
12-55016 | Controller ML5 Scroll (Warranty) | BR | RP | Replace | 1 | 1 | 0.75 | 1774.34 |  |  |  | USD
12-55016 | Controller ML5 Scroll (Warranty) | BR | RW | Rewire | 1 | 1 | 0.25 | 0 |  |  |  | EUR
14-00176-01 | Strainer 100 Mesh, 3/8 OD | BR | RP | Replace | 1 | 1 | 0.5 | 14.71 | 1 | 0.5 | 14.71 | USD
14-00222-05 | Valve, Service, Liquid Line (King Valve) (excl all related jobs) | BR | RP | Replace | 1 | 1 | 1.75 | 34.08 |  |  |  | USD
14-00393-10 | Coil, EEV | BR | RP | Replace | 1 | 1 | 0.5 | 81.28 | 0 | 0 | 84.4 | USD
14-00464-20 | Filter Drier, with O-Rings | MS | IT | Insert | 1 | 1 | 0.5 | 22.63 | 1 | 1 | 22.63 | USD
14-00464-20 | Filter Drier, with O-Rings | CH | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0 | 0 | EUR
14-00464-20 | Filter Drier, with O-Rings | BR | RP | Replace | 1 | 1 | 0.5 | 22.63 | 1 | 1 | 22.63 | USD
20429776 | Cable MSC ContainerFlex FG7OK 4G4 11awg (per meter) | BR | RP | Replace | 1 | 1 | 0.5 | 4.6 | 1 | 0 | 4.6 | EUR
22-01613-06 | Connector, 3 Socket (excl all related jobs) | BR | RP | Replace | 1 | 1 | 0.5 | 8.2 | 0 | 0 | 8.85 | USD
22-01613-07 | Lock, Secondary 3 Pin (P) | BR | RP | Replace | 1 | 1 | 0.5 | 3.17 | 0 | 0 | 0.77 | USD
22-01713-56 | Harness, Display | BR | RP | Replace | 1 | 1 | 0.25 | 16.95 |  |  |  | USD
22-01835-00 | Connector, On Harness to Drive | BR | RP | Replace | 1 | 1 | 0.5 | 11.38 | 0 | 0 | 5.77 | USD
22-01944-05 | Cap (SPT/EPT) | BR | RP | Replace | 1 | 1 | 0.25 | 2.11 | 1 | 0 | 2.11 | USD
22-02336-08 | Fuse, 7.5 Amp | MS | IT | Insert | 1 | 1 | 0.25 | 0.87 | 1 | 0.25 | 0.87 | USD
22-02336-08 | Fuse, 7.5 Amp | BR | RP | Replace | 1 | 1 | 0.25 | 0.87 | 1 | 0.25 | 0.87 | USD
22-66793-00 | Connector, Straight, Watertight (excl all related jobs) | BR | RP | Replace | 1 | 1 | 0.25 | 69.65 | 0 | 0 | 25.35 | USD
24-00006-20 | Heater, Evaporator Coil (230V) | MS | IT | Insert | 1 | 1 | 0.5 | 16.02 | 1 | 0.25 | 16.02 | EUR
24-00006-20 | Heater, Evaporator Coil (230V) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | EUR
24-00006-20 | Heater, Evaporator Coil (230V) | BR | RP | Replace | 1 | 1 | 1 | 16.02 | 1 | 0.25 | 16.02 | EUR
24-00006-20 | Heater, Evaporator Coil (230V) | RA | RR | R&R or Reinstall | 1 | 1 | 1 | 0 | 1 | 0.25 | 0 | EUR
34-00373-51 | Clamp, Cushioned, 0.25 Diameter | BR | RP | Replace | 1 | 1 | 0.25 | 1.06 | 1 | 0 | 1.06 | USD
34-00373-52 | Clamp, Tube | BR | RP | Replace | 1 | 1 | 0.25 | 1.64 | 1 | 0 | 1.64 | USD
34-00616-06 | Washer, Special, 5/8 - SST | BR | RP | Replace | 1 | 1 | 0.15 | 1.91 | 1 | 0.15 | 1.91 | USD
34-00616-06 | Washer, Special, 5/8 - SST | MS | RP | Replace | 1 | 1 | 0.15 | 1.91 | 1 | 0.15 | 1.91 | USD
34-00655-04 | Screw, Cap Hex Head, 1/4-20 x 0.50 Long - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.18 | 1 | 0.15 | 0.18 | USD
34-00655-08 | Screw, Cap Hex Head, 1/4-20 x 1.00 Long - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.33 | 1 | 0.15 | 0.33 | USD
34-00655-10 | Screw, Cap Hex Head, 1/4-20 x 1.25 long - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.2 | 1 | 0.15 | 0.2 | USD
34-00655-18 | Screw, Cap Hex Head, 1/4-20 x 2.25 long - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.36 | 1 | 0.15 | 0.36 | USD
34-00663-07 | Washer, Lock, #6 Spring - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.33 | 1 | 0.15 | 0.33 | USD
34-00663-09 | Washer, Lock, #10 Spring - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.14 | 1 | 0.15 | 0.14 | USD
34-00663-11 | Washer, Lock, 1/4 Spring - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.08 | 1 | 0.15 | 0.08 | USD
34-01142-01 | Receptacle, Retaining | BR | RP | Replace | 1 | 1 | 0.25 | 1.23 | 1 | 0.25 | 1.23 | USD
34-01181-01 | Washer, Flat, 5/16 - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.72 | 1 | 0.15 | 0.72 | USD
34-06053-00 | Washer, Mylar, 0.250 ID x 0.800 OD | BR | RP | Replace | 1 | 1 | 0.15 | 1.66 | 1 | 0.15 | 1.66 | USD
34-06053-02 | Washer, Mylar, 3/8 ID x 1.00 OD | BR | RP | Replace | 1 | 1 | 0.15 | 0.29 | 1 | 0.15 | 0.29 | USD
34-06053-03 | Washer, Mylar, 1/4 ID x 1.00 OD | BR | RP | Replace | 1 | 1 | 0.15 | 0.38 | 1 | 0.15 | 0.38 | USD
34-06053-05 | Washer, Mylar, 0.205 ID x 0.600 OD | BR | RP | Replace | 1 | 1 | 0.15 | 0.23 | 1 | 0.15 | 0.23 | USD
34-06053-13 | Washer, Mylar, 1/4 ID x 0.80 OD | BR | RP | Replace | 1 | 1 | 0.15 | 0.23 | 1 | 0.15 | 0.23 | USD
34-06053-18 | Washer, Mylar, 1/4 ID x 1.00 OD | BR | RP | Replace | 1 | 1 | 0.15 | 2.15 | 1 | 0.15 | 2.15 | USD
34-06053-19 | Washer, Mylar, 0.312 ID x 1.00 OD | BR | RP | Replace | 1 | 1 | 0.15 | 0.51 | 1 | 0.15 | 0.51 | USD
34-06053-20 | Washer, Mylar, 0.65 ID x 1.50 OD | BR | RP | Replace | 1 | 1 | 0.15 | 2.23 | 1 | 0.15 | 2.23 | USD
34-06169-00 | Washer, Retaining, SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.78 | 1 | 0.15 | 0.78 | USD
34-06185-01 | Screw, Machine Pan Head, #8-32 x 1/2 lg. - SST | LO | RE | Resecure | 1 | 1 | 0.15 | 0 | 1 | 0.15 | 0 | USD
34-06185-01 | Screw, Machine Pan Head, #8-32 x 1/2 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 1.87 | 1 | 0.15 | 1.87 | USD
34-06185-01 | Screw, Machine Pan Head, #8-32 x 1/2 lg. - SST | MS | RP | Replace | 1 | 1 | 0.15 | 1.87 | 1 | 0.15 | 1.87 | USD
34-06243-00 | Screw, Pan Head, (Thread Cutting) #8-32 x 3/4 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.26 | 1 | 0.15 | 0.26 | USD
34-66627-00 | Screw, HXHD, 1/4 -20 X 1.00 Long - TIR | BR | RP | Replace | 1 | 1 | 0.15 | 22.28 | 1 | 0.15 | 22.28 | USD
34-66644-00 | Screw, Cap Hex Head | BR | RP | Replace | 1 | 1 | 0.15 | 42.18 | 1 | 0.15 | 42.18 | USD
38-00620-01 | Fan, Condenser, Assembly | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0 | 0 | EUR
38-00620-01 | Fan, Condenser, Assembly | BR | RP | Replace | 1 | 1 | 0.5 | 67.42 | 0 | 0 | 0 | USD
38-00626-00 | Fan, Evaporator | MS | IT | Insert | 1 | 1 | 0.38 | 40.88 | 1 | 0.38 | 40.88 | USD
38-00626-00 | Fan, Evaporator | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
38-00626-00 | Fan, Evaporator | BR | RP | Replace | 1 | 1 | 0.75 | 40.88 | 1 | 0.75 | 40.88 | USD
38-00626-00 | Fan, Evaporator | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 | 1 | 0.75 | 0 | EUR
40-00520-02 | Cap, Service Port, Low Pressure, M13 | MS | IT | Insert | 1 | 1 | 0.25 | 2.41 | 1 | 0.25 | 2.41 | USD
40-00520-02 | Cap, Service Port, Low Pressure, M13 | BR | RP | Replace | 1 | 1 | 0.25 | 2.41 | 1 | 0.25 | 2.41 | USD
40-00520-03 | Cap, Service Port, High Pressure, M15 | BR | RP | Replace | 1 | 1 | 0.25 | 2.07 | 1 | 0.25 | 2.07 | USD
40-00520-03 | Cap, Service Port, High Pressure, M15 | MS | RP | Replace | 1 | 1 | 0.25 | 2.07 | 1 | 0.25 | 2.07 | USD
40-00542-00 | Elbow, Adapter (R134a) | BR | RP | Replace | 1 | 1 | 0.25 | 19.41 | 0 | 0 | 19.41 | USD
40-00542-00 | Elbow, Adapter (R134a) | CH | RP | Replace | 1 | 1 | 0.25 | 19.41 | 0 | 0 | 19.41 | USD
40-00542-01 | Elbow, Adapter, High Pressure, R134a - Brass | BR | RP | Replace | 1 | 1 | 0.25 | 21.18 | 1 | 0.25 | 21.18 | USD
40-00542-01 | Elbow, Adapter, High Pressure, R134a - Brass | CH | RP | Replace | 1 | 1 | 0.25 | 21.18 | 1 | 0.25 | 21.18 | USD
40-01124-00 | Valve, Body, Transducer DPT (excl all related jobs) | BR | RP | Replace | 1 | 1 | 0.25 | 4.35 | 0 | 0 | 3.02 | USD
42-00032-13 | Insulation, Prestite, Heat Exchanger, 3.75" | BR | RP | Replace | 1 | 1 | 1.5 | 2.15 | 1 | 0 | 2.15 | USD
42-00296-01 | Gasket | BR | RP | Replace | 1 | 1 | 0.25 | 13.71 | 1 | 0.25 | 13.71 | USD
42-00327-00 | Gasket, 0.26 x 0.50 Halfmoon | BR | RP | Replace | 1 | 1 | 0.5 | 13.46 | 1 | 0 | 13.46 | USD
42-00384-02 | Seal, 1 1/4-12 | BR | RP | Replace | 1 | 1 | 0.25 | 0.8 | 1 | 0.25 | 0.8 | USD
42-00407-00 | Gasket, (One Piece) | BR | RP | Replace | 1 | 1 | 0.5 | 21.21 | 1 | 0 | 21.21 | USD
44-00477-00 | Hinge, Staked Pin | BR | RP | Replace | 1 | 1 | 0.25 | 11.1 | 1 | 0.25 | 11.1 | USD
54-00648-20 | Motor, Evaporator Fan, Three-Phase | MS | IT | Insert | 1 | 1 | 0.5 | 524.7 | 0 | 0.5 | 459.97 | USD
54-00648-20 | Motor, Evaporator Fan, Three-Phase | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
54-00648-20 | Motor, Evaporator Fan, Three-Phase | BR | RP | Replace | 1 | 1 | 1 | 524.7 | 0 | 1 | 459.97 | USD
54-00648-20 | Motor, Evaporator Fan, Three-Phase | RA | RR | R&R or Reinstall | 1 | 1 | 1 | 0 | 1 | 1 | 0 | EUR
56-09087-00 | Tube, Liquid, 3/8 OD x 0.028 | BR | RP | Replace | 1 | 1 | 1 | 3.11 | 0 | 0 | 2.86 | USD
56-09141-00 | Tube, 3/8 OD x .028 | BR | RP | Replace | 1 | 1 | 1 | 4.21 | 0 | 0 | 3.88 | USD
58-04276-00 | Holder, Probe | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 0 | 0 | 0 | USD
58-04276-00 | Holder, Probe | BR | RP | Replace | 1 | 1 | 0.5 | 9.44 | 0 | 0 | 9.44 | USD
58-04279-00 | Cover, Probe, Plastic | LO | RE | Resecure | 1 | 1 | 0.1 | 0 | 0 | 0 | 0 | USD
58-04279-00 | Cover, Probe, Plastic | BR | RP | Replace | 1 | 1 | 0.25 | 5 | 0 | 0 | 4.95 | USD
58-04279-00 | Cover, Probe, Plastic | MS | RP | Replace | 1 | 1 | 0.25 | 5 | 0 | 0 | 4.95 | USD
58-04316-00 | Wire Tie, Base | BR | RP | Replace | 1 | 1 | 0.25 | 0.73 | 1 | 0.1 | 0.73 | USD
58-04366-00SV | Window, Controller Box Door - Lexan + Gasket Assy | MS | IT | Insert | 1 | 1 | 0.5 | 53.81 | 0 | 0 | 0 | USD
58-04366-00SV | Window, Controller Box Door - Lexan + Gasket Assy | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 0 | 0 | 0 | USD
58-04366-00SV | Window, Controller Box Door - Lexan + Gasket Assy | BR | RP | Replace | 1 | 1 | 1 | 53.81 | 0 | 0 | 0 | USD
58-04366-00SV | Window, Controller Box Door - Lexan + Gasket Assy | RA | RR | R&R or Reinstall | 1 | 1 | 1 | 0 |  |  |  | EUR
58-04954-00 | Pocket, Placard | BR | RP | Replace | 1 | 1 | 0.5 | 3.89 | 0 | 0 | 0 | USD
58-04980-00SV | Grille, Condenser Coil | MS | IT | Insert | 1 | 1 | 0.25 | 86.04 |  |  |  | USD
58-04980-00SV | Grille, Condenser Coil | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
58-04980-00SV | Grille, Condenser Coil | BR | RP | Replace | 1 | 1 | 0.25 | 86.04 | 0 | 0 | 0 | USD
58-04980-00SV | Grille, Condenser Coil | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 0 | 0 | 0 | EUR
58-04980-00SV | Grille, Condenser Coil | DT | RS | Straighten and Secure component(s) | 1 | 1 | 0.25 | 0 | 0 | 0 | 0 | EUR
58-05145-00 | Rain Shield | BR | RP | Replace | 1 | 1 | 0.25 | 5.69 | 0 | 0 | 5.74 | USD
58-66689-00 | Spacer (Used with sheet metal control box only) | BR | RP | Replace | 1 | 1 | 0.1 | 0.7 | 1 | 0.1 | 0.7 | USD
62-02723-00 | Label, Fresh Air Makeup - % | BR | RP | Replace | 1 | 1 | 0.25 | 2.48 | 1 | 0 | 2.48 | USD
62-02723-00 | Label, Fresh Air Makeup - % | MS | RP | Replace | 1 | 1 | 0.25 | 2.48 | 1 | 0 | 2.48 | USD
62-10930-00 | Label, VPS | BR | RP | Replace | 1 | 1 | 0.1 | 3.49 | 0 | 0 | 3.94 | USD
62-11275-00 | Label, USDA Cold Certified ML3 | BR | RP | Replace | 1 | 1 | 0.1 | 0 | 0 | 0 | 0 | USD
62-11275-00 | Label, USDA Cold Certified ML3 | MS | RP | Replace | 1 | 1 | 0.1 | 0 | 0 | 0 | 0 | USD
62-66081-00 | Label, Warning Refrig (R-134A) | BR | RP | Replace | 1 | 1 | 0.15 | 25.77 | 1 | 0 | 25.77 | USD
66-U---1--2403 | Screw, Truss Head, #10-24 x 1/2 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.22 | 1 | 0.15 | 0.22 | USD
66U1-2403-1 | Screw, Truss Head, #10-24 x 0.75 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.3 | 1 | 0.15 | 0.3 | USD
66-U---1--2583 | Heat Shrink, Coil Label 460V | BR | RP | Replace | 1 | 1 | 0.15 | 2.01 | 0 | 0 | 2.09 | USD
66-U---1--5321-2 | Washer, Plain, #8 - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.07 | 1 | 0.15 | 0.07 | USD
66-U---1--5321-3 | Washer, Plain, 1/4 N Type A | BR | RP | Replace | 1 | 1 | 0.15 | 0.09 | 1 | 0.15 | 0.09 | USD
66-U---1--5321-5 | Washer, Flat, 3/8 - SST | BR | RP | Replace | 1 | 1 | 0.15 | 1.02 | 1 | 0.15 | 1.02 | USD
66-U---1--5321-7 | Washer, Plain, 1/4 W Type A | BR | RP | Replace | 1 | 1 | 0.15 | 0.13 | 1 | 0.15 | 0.13 | USD
66-U---1--5321-8 | Washer, Flat, 1/2, Type A- SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.2 | 1 | 0.15 | 0.2 | USD
66-U---1--5361 | Screw, Hex Head, 5/16-18 x 1-1/4 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.77 | 1 | 0.15 | 0.77 | USD
66-U---1--5362-2 | Nut, Wing, 5/16-18 - SST | LO | RE | Resecure | 1 | 1 | 0.15 | 0 | 1 | 0 | 0 | USD
66-U---1--5362-2 | Nut, Wing, 5/16-18 - SST | BR | RP | Replace | 1 | 1 | 0.15 | 4.35 | 1 | 0 | 4.35 | USD
66-U---1--5362-2 | Nut, Wing, 5/16-18 - SST | MS | RP | Replace | 1 | 1 | 0.15 | 4.35 | 1 | 0 | 4.35 | USD
66-U---1--5371 | Screw, Machine, Hex Head, #8-32 x .50 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.29 | 1 | 0.15 | 0.29 | USD
66-U---1--5371-7 | Screw, Hex Head 10- 24 x 1/2 gl. SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.19 | 1 | 0.15 | 0.19 | USD
66-U---1--5381-1 | Screw, Hex Head, #10-24 x .75 lg. - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.49 | 1 | 0.15 | 0.49 | USD
66-U---1--5562-7 | Plug, 1-1/4 Diameter - Plastic | BR | RP | Replace | 1 | 1 | 0.25 | 0.49 | 0 | 0 | 0 | USD
66-U---1--8292-1 | Cap, Insulating 0.125 OD Black | BR | RP | Replace | 1 | 1 | 0.25 | 2.15 | 1 | 0 | 2.15 | USD
68-12933-07 | Disc, 12.35 Diameter, White | BR | RP | Replace | 1 | 1 | 0.25 | 32.2 | 0 | 0 | 0 | USD
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | MS | IT | Insert | 1 | 1 | 0.25 | 3.21 |  |  |  | USD
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | BR | RP | Replace | 1 | 1 | 0.3 | 3.21 | 0 | 0 | 0 | USD
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | RA | RR | R&R or Reinstall | 1 | 1 | 0.3 | 0 |  |  |  | EUR
68-15998-00 | Nut Plate, 1.125 Thick Aluminum | BR | RP | Replace | 1 | 1 | 0.25 | 4.44 | 0 | 0 | 0 | USD
68-16521-00 | Bracket | BR | RP | Replace | 1 | 1 | 0.25 | 69.51 | 0 | 0 | 0 | USD
68-16696-00 | Fan Deck | BR | RP | Replace | 1 | 1 | 1.5 | 43.61 | 0 | 0 | 0 | USD
68-16892-00 | Bracket | BR | RP | Replace | 1 | 1 | 0.25 | 2.73 | 1 | 0 | 2.73 | USD
68-17089-00 | Plate, Cover | BR | RP | Replace | 1 | 1 | 0.5 | 4.11 | 0 | 0 | 0 | USD
68-17118-00 | Bracket | BR | RP | Replace | 1 | 1 | 0.25 | 8.55 | 1 | 0.25 | 8.55 | USD
68-17175-00 | Bracket, 0.188 Thick Aluminum | BR | RP | Replace | 1 | 1 | 0.25 | 6.71 | 1 | 0 | 6.71 | USD
68-17196-00 | Bracket | BR | RP | Replace | 1 | 1 | 0.25 | 15.15 | 1 | 0.25 | 15.15 | USD
68-17405-00 | Bracket | BR | RP | Replace | 1 | 1 | 0.5 | 15.56 | 0 | 0 | 0 | USD
68-86230-00 | Strap Assembly Ground, All Populated | BR | RP | Replace | 1 | 1 | 1 | 10.95 | 0 | 0 | 0 | USD
69NT--35--2692 | Washer, Fender, #10 x 1.00 OD x 0.063 Thick - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.07 | 1 | 0.15 | 0.07 | USD
69NT--35--2692-1 | Washer, Fender, 1/4 ID x 0.993 x 1.015 OD | BR | RP | Replace | 1 | 1 | 0.15 | 0.9 | 1 | 0.15 | 0.9 | USD
69NT--35--2692-4 | Washer, Fender, #10 x 0.743 x 0.765 OD x 0.063 Thick - SST | BR | RP | Replace | 1 | 1 | 0.15 | 0.74 | 1 | 0.15 | 0.74 | USD
69NT--43---295 | Bracket, Mounting Evaporator Fan Assembly | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | USD
69NT--43---295 | Bracket, Mounting Evaporator Fan Assembly | BR | RP | Replace | 1 | 1 | 0.25 | 13.62 | 1 | 0.25 | 13.62 | USD
69NT--43---295 | Bracket, Mounting Evaporator Fan Assembly | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
76-00675-04 | Sensor, Humidity | MS | IT | Insert | 1 | 1 | 0.38 | 153.27 |  |  |  | USD
76-00675-04 | Sensor, Humidity | BR | RP | Replace | 1 | 1 | 0.75 | 153.27 | 0 | 0 | 0 | USD
76-00816-00 | Transducer, Service (EPT), (SPT) | MS | IT | Insert | 1 | 1 | 0.25 | 229.21 | 1 | 0.5 | 229.21 | USD
76-00816-00 | Transducer, Service (EPT), (SPT) | BR | RP | Replace | 1 | 1 | 0.5 | 229.21 | 1 | 0.5 | 229.21 | USD
76-00816-00 | Transducer, Service (EPT), (SPT) | CH | RR | R&R or Reinstall | 1 | 1 | 0.5 | 2 | 1 | 0.2 | 2 | EUR
76-66665-00 | Sensor, Upper VPS Replacement | BR | RP | Replace | 1 | 1 | 1.5 | 146.47 | 0 | 0 | 0 | USD
76-66683-00 | Stator, Evaporator Fan | MS | IT | Insert | 1 | 1 | 0.5 | 86.37 | 1 | 0.5 | 86.37 | USD
76-66683-00 | Stator, Evaporator Fan | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
76-66683-00 | Stator, Evaporator Fan | BR | RP | Replace | 1 | 1 | 1 | 86.37 | 1 | 1.25 | 86.37 | USD
76-66694-00 | Sensor, Humidity W/Bracket (HS) | MS | IT | Insert | 1 | 1 | 0.38 | 108.13 |  |  |  | USD
76-66694-00 | Sensor, Humidity W/Bracket (HS) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 0 | 0 | 0 | EUR
76-66694-00 | Sensor, Humidity W/Bracket (HS) | BR | RP | Replace | 1 | 1 | 0.75 | 108.13 | 0 | 0 | 0 | USD
76-66694-00 | Sensor, Humidity W/Bracket (HS) | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 |  |  |  | EUR
76-66705-00 | EVAP DEFROST TERMINATION KIT | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | USD
76-66705-00 | EVAP DEFROST TERMINATION KIT | BR | RP | Replace | 1 | 1 | 0.5 | 42.35 |  |  |  | USD
76-66705-00 | EVAP DEFROST TERMINATION KIT | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 1 |  |  |  | USD
79-01697-06SV | Panel, Access, Evap motor, White | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | USD
79-01697-06SV | Panel, Access, Evap motor, White | BR | RP | Replace | 1 | 1 | 0.25 | 195.04 | 0 | 0 | 0 | USD
79-01697-06SV | Panel, Access, Evap motor, White | MS | RP | Replace | 1 | 1 | 0.25 | 195.04 | 0 | 0 | 0 | USD
79-01697-06SV | Panel, Access, Evap motor, White | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | USD
79-01697-06SV | Panel, Access, Evap motor, White | DT | RS | Straighten and Secure component(s) | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | EUR
79-66017-00 | Control Box Door Assembly, Phillips Screw | MS | IT | Insert | 1 | 1 | 0.25 | 218.79 |  |  |  | USD
79-66017-00 | Control Box Door Assembly, Phillips Screw | BR | RP | Replace | 1 | 1 | 0.25 | 218.79 | 0 | 0 | 0 | USD
79-66017-00 | Control Box Door Assembly, Phillips Screw | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 |  |  |  | EUR
79-66017-00 | Control Box Door Assembly, Phillips Screw | DT | RS | Straighten and Secure component(s) | 1 | 1 | 0.25 | 0 |  |  |  | EUR
79-66669-05 | Keypad Assy | MS | IT | Insert | 1 | 1 | 0.25 | 87.24 |  |  |  | USD
79-66669-05 | Keypad Assy | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
79-66669-05 | Keypad Assy | BR | RP | Replace | 1 | 1 | 0.5 | 87.24 |  |  |  | USD
79-66669-05 | Keypad Assy | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
79-66743-00 | Cap & Tether Assy (3 Pin) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
79-66743-00 | Cap & Tether Assy (3 Pin) | BR | RP | Replace | 1 | 1 | 0.25 | 4.36 | 1 | 0.25 | 4.36 | USD
79-66743-01 | Cap, Dust (5-Pin Receptacle) | MS | IT | Insert | 1 | 1 | 0.25 | 4.45 | 0 | 0 | 4.91 | USD
79-66743-01 | Cap, Dust (5-Pin Receptacle) | BR | RP | Replace | 1 | 1 | 0.25 | 4.45 | 0 | 0 | 4.91 | USD
79-66780-01 | Panel, Fresh Air Make-up w/VPS (White) | BR | RP | Replace | 1 | 1 | 0.5 | 528.42 | 0 | 0 | 0 | USD
81-04237-20 | Condenser Coil, Assembly, MCHE | BR | RP | Replace | 1 | 1 | 4 | 1274.3 | 0 |  |  | USD
81-04237-20 | Condenser Coil, Assembly, MCHE | DY | WW | Water Wash | 1 | 1 | 0.25 | 6 |  |  |  | EUR
86-04956-00 | Retainer, Assembly | BR | RP | Replace | 1 | 1 | 0.25 | 16.97 | 1 | 0 | 16.97 | USD
9308 | ECOplug repair insert | CU | IT | Insert | 1 | 1 | 0.1 | 1.6 |  |  |  | EUR
MR-00000-00 | Pre Trip Inspection (PTI) | OD | PI | Pre Trip Inspection | 1 | 1 | 0 | 45.66 | 0 | 0 | 0 | EUR
MR-00000-01 | Running Test / Short PTI | OD | PI | Pre Trip Inspection | 1 | 1 | 0 | 41.09 | 0 | 0 | 0 | EUR
MR-00000-03 | Visual Inspection (ePTI) | OD | IP | Inspect and Report | 1 | 1 | 0 | 32 |  |  |  | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | MS | IN | Install | 1 | 1 | 0.15 | 5 | 0 | 0 | 0 | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | LO | RE | Resecure | 1 | 1 | 0.1 | 0 | 0 | 0 | 0 | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | BR | RP | Replace | 1 | 1 | 0.25 | 5 | 0 | 0 | 0 | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | RA | RR | R&R or Reinstall | 1 | 1 | 0.06 | 0 | 0 | 0 |  | EUR
MR-00001-06 | Rivet 5mm ss | MS | IN | Install | 1 | 1 | 0.05 | 0.79 | 1 | 0.05 | 0.79 | EUR
MR-00001-06 | Rivet 5mm ss | BR | RP | Replace | 1 | 1 | 0.05 | 0.79 | 1 | 0.05 | 0.79 | EUR
MR-00004-00 | RRA Test | ZZ | TC | Test/Calibrate | 1 | 1 | 0.25 | 25.95 | 1 | 0.25 | 25.95 | EUR
MR-00004-01 | Labo Test, R134a | ZZ | TC | Test/Calibrate | 1 | 1 | 0 | 160 |  |  |  | EUR
MR-00005-00 | Markings, serial number & prefix (Complete) | ML | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 |  |  |  | EUR
MR-00005-00 | Markings, serial number & prefix (Complete) | ML | RP | Replace | 1 | 1 | 0.25 | 6.37 | 0 | 0 | 0 | EUR
MR-00005-01 | Markings, single digit / character | ML | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 |  |  |  | EUR
MR-00005-01 | Markings, single digit / character | ML | RP | Replace | 1 | 1 | 0.25 | 1.06 | 1 |  | 1.06 | EUR
MR-00006-00 | Leak Test (Nitrogen) | ZZ | MR | Running test | 1 | 1 | 0.5 | 8.49 | 1 | 0.5 | 8.49 | EUR
MR-00006-01 | Flushing (Nitrogen) | ZZ | ER | Evacuate, recycle / Recharge system | 1 | 1 | 0.5 | 25.38 | 0 | 0 | 0 | EUR
MR-00008-00 | Pump Down | ZZ | DR | Drain | 1 | 1 | 0.5 | 0 | 0 | 0 | 0 | EUR
MR-00009-00 | Gas, R134a | CT | RM | Remove Component (without replacement) | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00009-00 | Gas, R134a | MS | RP | Replace | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00100-02 | 460V Cable, Cold Shrink | BR | SI | Splice Cable | 1 | 1 | 0.5 | 26.4 | 1 | 0.5 | 26.4 | EUR
MR-00100-03 | 460V Cable, Heat Shrink | BR | SI | Splice Cable | 1 | 1 | 0.5 | 8.58 | 1 | 0.5 | 8.58 | EUR
MR-00100-04 | 460V Plug, CEE32a 3h | BR | RP | Replace | 1 | 1 | 0.5 | 4.6 | 0 | 0 | 0 | EUR
MR-00100-04 | 460V Plug, CEE32a 3h | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0.62 |  |  |  | EUR
MR-00100-05 | Led, Cool (display) | BR | RP | Replace | 1 | 1 | 0.2 | 5 |  |  |  | EUR
MR-00100-06 | Power Plug Electrical Connections | BR | RP | Replace | 1 | 1 | 0 | 1 | 0 |  | 0 | EUR
MR-00110-00 | Wiring, Electrical (per connection) | MS | IT | Insert | 1 | 1 | 0.25 | 1.23 | 1 | 0.25 | 1.23 | EUR
MR-00110-00 | Wiring, Electrical (per connection) | BR | RP | Replace | 1 | 1 | 0.25 | 1.23 | 1 | 0.25 | 1.23 | EUR
MR-00110-00 | Wiring, Electrical (per connection) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 | 1 | 0.25 |  | EUR
MR-00110-00 | Wiring, Electrical (per connection) | BR | RW | Rewire | 1 | 1 | 0.25 | 1.23 | 1 | 0.05 | 1.23 | EUR
MR-00110-01 | Wiring, Insulation | BR | RP | Replace | 1 | 1 | 0.25 | 1.84 | 1 | 0.05 | 1.84 | EUR
MR-00110-02 | Wiring, Complete, Compressor to Contactor | BR | RP | Replace | 1 | 1 | 1 | 21.32 | 0 | 0 | 0 | EUR
MR-00110-02 | Wiring, Complete, Compressor to Contactor | BR | RW | Rewire | 1 | 1 | 1 | 21.32 | 0 |  |  | EUR
MR-00130-05 | Interrogator Mount (incl. 4 * rivet) | LO | RE | Resecure | 1 | 1 | 0.25 | 4.06 | 1 | 0 | 0 | EUR
MR-00131-00 | Sensor, USDA (MSC Stock) | ZZ | IN | Install | 1 | 1 | 0.4 | 0 | 1 | 0.4 |  | EUR
MR-00131-00 | Sensor, USDA (MSC Stock) | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
MR-00131-01 | Calibration sensors | OC | TC | Test/Calibrate | 1 | 1 | 1 | 0 | 1 | 1 | 0 | EUR
MR-00200-00 | Copper Tubing, 1/4" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 5.62 | 1 | 0.1 | 2.81 | EUR
MR-00200-01 | Copper Tubing, 3/8" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 8.92 | 1 | 0.1 | 4.47 | EUR
MR-00200-02 | Copper Tubing, 1/2" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 13.24 | 1 | 0.1 | 6.62 | EUR
MR-00200-03 | Copper Tubing, 5/8" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 16.52 | 1 | 0.1 | 8.26 | EUR
MR-00200-04 | Copper Tubing, 7/8" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 11.26 | 1 | 0.1 | 5.63 | EUR
MR-00200-05 | Copper Tubing, 1"1/8 (10cm) | BR | RP | Replace | 1 | 1 | 1 | 13.85 | 1 | 0.1 | 6.93 | EUR
MR-00201-00 | Copper Tubing, Leak | CH | WD | Weld | 1 | 1 | 1 | 21.32 | 1 | 1 | 21.32 | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | MS | IT | Insert | 1 | 1 | 0.75 | 8.12 | 1 | 0 | 8.12 | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | LO | RE | Resecure | 1 | 1 | 0.75 | 0 |  |  |  | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | BR | RP | Replace | 1 | 1 | 0.75 | 8.12 | 1 | 0 | 8.12 | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 | 1 | 0 | 0 | EUR
MR-00204-00 | Silverbraze | LK | WD | Weld | 1 | 1 | 0 | 21.32 | 1 |  | 21.32 | EUR
MR-00205-00 | Insulation Tape, Cork (50 cm) | MS | IT | Insert | 1 | 1 | 0.38 | 2.03 | 1 | 0.13 | 2.03 | EUR
MR-00205-00 | Insulation Tape, Cork (50 cm) | BR | RP | Replace | 1 | 1 | 0.5 | 2.03 | 1 | 0.25 | 2.03 | EUR
MR-00220-02 | Vacuum | ZZ | ZZ | Not Applicable | 1 | 1 | 1 | 0 | 1 | 1 | 0 | EUR
MR-00232-00 | Drain Tube, Flexible (10cm) | BK | FR | Free Up | 1 | 1 | 1 | 5.08 |  |  |  | EUR
MR-00232-00 | Drain Tube, Flexible (10cm) | LO | RE | Resecure | 1 | 1 | 2 | 0.8 | 0 | 0 | 0 | EUR
MR-00232-00 | Drain Tube, Flexible (10cm) | BR | RP | Replace | 1 | 1 | 2 | 1.02 | 1 | 0 | 1.02 | EUR
MR-00300-01 | Panel, Bulkhead, Upper | BR | RP | Replace | 1 | 1 | 0.5 | 223 |  |  |  | EUR
MR-00300-01 | Panel, Bulkhead, Upper | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 | 0 | 0 | 0 | EUR
MR-00300-02 | Panel, Bulkhead, Lower | BR | RP | Replace | 1 | 1 | 0.5 | 155.18 |  |  |  | EUR
MR-00300-02 | Panel, Bulkhead, Lower | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 18.27 | 0 | 0 | 0 | EUR
MR-00300-04 | Panel, Bulkhead, screws | MS | IN | Install | 1 | 10 | 0.15 | 1.9 | 10 | 0.15 | 1.9 | EUR
MR-00300-04 | Panel, Bulkhead, screws | BR | RP | Replace | 1 | 10 | 0.25 | 1.9 | 10 | 0.15 | 1.9 | EUR
MR-00311-00 | Valve, King, Spindle | LO | RE | Resecure | 1 | 1 | 0.15 | 1 |  |  |  | EUR
MR-00311-01 | Valve, Suction, Spindle | LO | RE | Resecure | 1 | 1 | 0.15 | 1 |  |  |  | EUR
MR-00311-02 | Valve, Discharge, Spindle | LO | RE | Resecure | 1 | 1 | 0.15 | 1 |  |  |  | EUR
MR-00500-00 | Refrigeration Unit (2nd hand) | BR | RP | Replace | 1 | 1 | 6 | 59.89 | 0 | 0 | 0 | EUR
MR-00500-00 | Refrigeration Unit (2nd hand) | RA | RR | R&R or Reinstall | 1 | 1 | 6 | 59.89 |  |  |  | EUR
Toegepaste filters: [Opgenomen (2)] OptimaLINE (UnitModelName) + 701001 (UnitModelnbr_from) + 701099 (UnitModelnbr_To), OptimaLINE (UnitModelName) + 701100 (UnitModelnbr_from) + 701199 (UnitModelnbr_To)