## Export
part_code | Part_Description | DamageCode | RepairCode | Repair_description | Threshold | FirstQuantity | FirstHour | FirstMaterial | AdditionalQuantity | AdditionalHour | AdditionalMaterial | CurrencyCode
20429776 | Cable MSC ContainerFlex FG7OK 4G4 11awg (per meter) | BR | RP | Replace | 1 | 1 | 0.5 | 4.6 | 1 | 0 | 4.6 | EUR
30-50377-00-AI | ACCU ITALIA BATTERY PACK | BR | RP | Replace | 1 | 1 | 0.25 | 8.97 | 0 | 0 | 0 | EUR
62-02530-01 | Label, R-134a - Ozone Protection, Umbrella Only - English | BR | RP | Replace | 1 | 1 | 0.1 | 5.46 | 1 | 0 | 5.46 | USD
62-02530-01 | Label, R-134a - Ozone Protection, Umbrella Only - English | MS | RP | Replace | 1 | 1 | 0.1 | 5.46 | 1 | 0 | 5.46 | USD
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | MS | IT | Insert | 1 | 1 | 0.25 | 3.21 |  |  |  | USD
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | BR | RP | Replace | 1 | 1 | 0.3 | 3.21 | 0 | 0 | 0 | USD
68-14456-01 | Clamp, Cable Cutter, 11 AWG cable | RA | RR | R&R or Reinstall | 1 | 1 | 0.3 | 0 |  |  |  | EUR
811204C | Back plate, evaporator (SCU 2007 to 2017) | BR | RP | Replace | 1 | 1 | 0.5 | 315.46 | 1 | 0 | 0 | EUR
811204C | Back plate, evaporator (SCU 2007 to 2017) | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 |  |  |  | EUR
811204D | Back plate, evaporator (SCI 9’6") | BR | RP | Replace | 1 | 1 | 0.5 | 126.64 | 1 | 0 | 0 | EUR
811506G | Fan grille, evaporator SCI | BR | RP | Replace | 1 | 1 | 1 | 130.64 | 1 | 0 | 0 | EUR
811517B | Drain gutter, right | BR | RP | Replace | 1 | 1 | 2 | 9.2 | 1 | 0 | 0 | EUR
811518B | Drain gutter, left | BR | RP | Replace | 1 | 1 | 2 | 10.02 | 1 | 0 | 0 | EUR
811524L | Coil, evaporator | MS | IT | Insert | 1 | 1 | 3 | 1253.07 |  |  |  | EUR
811524L | Coil, evaporator | LO | RE | Resecure | 1 | 1 | 1.5 | 0 |  |  |  | EUR
811524L | Coil, evaporator | BR | RP | Replace | 1 | 1 | 6 | 1253.07 |  |  |  | EUR
811524L | Coil, evaporator | RA | RR | R&R or Reinstall | 1 | 1 | 6 | 0 |  |  |  | EUR
811537D | Bracket, evaporator fan motor | BR | RP | Replace | 1 | 1 | 0.25 | 142.69 | 1 | 0.15 | 142.69 | EUR
811537D | Bracket, evaporator fan motor | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.15 |  | EUR
811550B | Plug, evaporator service hole | BR | RP | Replace | 1 | 1 | 0.25 | 5.22 | 1 | 0.25 | 5.22 | EUR
814201D | Square frame (1701 mm), condenser | BR | RP | Replace | 1 | 1 | 0.25 | 406.98 | 1 | 0 | 0 | EUR
814247C | Cable, FC (1.0 and 1.1) to compressor | BR | RP | Replace | 1 | 1 | 0.75 | 93.62 | 1 | 0 | 0 | EUR
814538D | Mounting ring, filter | BR | RP | Replace | 1 | 1 | 0.25 | 5.65 | 1 | 0 | 0 | EUR
814540B | Receiver | BR | RP | Replace | 1 | 1 | 2 | 1503.56 |  |  |  | EUR
814540G | Receiver (1.8 L) | BR | RP | Replace | 1 | 1 | 2 | 321.13 | 1 | 0 | 0 | EUR
814541C | Grille, condenser fan, square | BR | RP | Replace | 1 | 1 | 0.25 | 81.24 |  |  |  | EUR
814541C | Grille, condenser fan, square | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 |  |  |  | EUR
814571B | Insulation, economizer (814667B) | BR | RP | Replace | 1 | 1 | 0.75 | 38.84 | 1 | 0.75 | 38.84 | EUR
814642D | Hinge, controller cabinet and door CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 5.93 | 1 | 0.25 | 5.93 | EUR
814644C | Hinge Pin | BR | RP | Replace | 1 | 1 | 0.25 | 5.18 | 1 | 0.25 | 5.18 | EUR
814653C | Cover, FC 1.0 | BR | RP | Replace | 1 | 1 | 2.5 | 111.52 |  |  |  | EUR
814667F | Economizer | BR | RP | Replace | 1 | 1 | 2.75 | 164.91 |  |  |  | EUR
815206B | Bracket, sensor, air exchange module | BR | RP | Replace | 1 | 1 | 0.25 | 15.16 | 1 | 0 | 0 | EUR
815208D | Cover plate, air exchange SCI | BR | RP | Replace | 1 | 1 | 0.25 | 126.3 | 1 | 0.25 | 126.3 | EUR
815208D | Cover plate, air exchange SCI | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
815210C | Inspection cover, complete | BR | RP | Replace | 1 | 1 | 0.25 | 80.62 | 1 | 0.25 | 80.62 | EUR
815210C | Inspection cover, complete | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | EUR
815215B | Pipe, evaporator suction SCU | BR | RP | Replace | 1 | 1 | 1 | 70.54 | 1 | 0 | 0 | EUR
815215D | Pipe, evap. suction 9"6" (SCI) | CH | RP | Replace | 1 | 1 | 1 | 84.26 |  |  |  | EUR
815228B | Fresh Air Vent Cover | RC | RP | Replace | 1 | 1 | 0 | 0 |  |  |  | EUR
815242A | CA membrane module, complete | BR | RP | Replace | 1 | 1 | 0.6 | 1384.05 | 1 | 0 | 0 | EUR
815242A | CA membrane module, complete | RA | RR | R&R or Reinstall | 1 | 1 | 0.6 | 0 |  |  |  | EUR
815505D | Power cable cover | BR | RP | Replace | 1 | 1 | 0.5 | 68.78 | 1 | 0 | 0 | EUR
815506B | Cover plate, controller | BR | RP | Replace | 1 | 1 | 0.25 | 98.35 |  |  |  | EUR
815508C | Seal, air exchange cover plate SCU | BR | RP | Replace | 1 | 1 | 0.25 | 5.93 | 1 | 0 | 0 | EUR
815509B | Seal, condenser cover plate | BR | RP | Replace | 1 | 1 | 0.25 | 4.3 | 1 | 0 | 0 | EUR
815509B | Seal, condenser cover plate | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 |  |  |  | EUR
815514C | Unit back plate lower, SCU CIM 6 | BR | RP | Replace | 1 | 1 | 0.5 | 250.75 | 1 | 0 | 0 | EUR
815519F | Cable cutter (4x2.5 mm2) | MS | IT | Insert | 1 | 1 | 0.25 | 6.82 |  |  |  | EUR
815519F | Cable cutter (4x2.5 mm2) | BR | RP | Replace | 1 | 1 | 0.3 | 6.82 |  |  |  | EUR
815519F | Cable cutter (4x2.5 mm2) | RA | RR | R&R or Reinstall | 1 | 1 | 0.3 | 0 |  |  |  | EUR
815519G | Cable cutter (4x4.0 mm2) | MS | IT | Insert | 1 | 1 | 0.25 | 10.49 |  |  |  | EUR
815519G | Cable cutter (4x4.0 mm2) | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
815519G | Cable cutter (4x4.0 mm2) | BR | RP | Replace | 1 | 1 | 0.3 | 10.49 |  |  |  | EUR
815519G | Cable cutter (4x4.0 mm2) | RA | RR | R&R or Reinstall | 1 | 1 | 0.3 | 0 |  |  |  | EUR
815545B | Thread rod, compressor mounting | BR | RP | Replace | 1 | 1 | 0.5 | 51.11 | 1 | 0 | 0 | EUR
815546B | Mounting cross rod, compressor | BR | RP | Replace | 1 | 1 | 0.5 | 7.91 | 1 | 0 | 0 | EUR
815558C | Gasket, suction service valve | BR | RP | Replace | 1 | 1 | 0.25 | 4.58 | 1 | 0 | 0 | EUR
815559B | Flange, suction service valve | BR | RP | Replace | 1 | 1 | 1.5 | 75.7 | 1 | 0 | 0 | EUR
815561F | Pipe, evaporator liquid (SCI 9’6") | BR | RP | Replace | 1 | 1 | 2 | 28.91 | 1 | 0 | 0 | EUR
815566E | Drain hose | BR | RP | Replace | 1 | 1 | 2 | 8.84 | 1 | 0 | 0 | EUR
815571B | Decal, warning hot components | BR | RP | Replace | 1 | 1 | 0.25 | 1.27 | 1 | 0 | 0 | EUR
815572B | Decal, R134a | BR | RP | Replace | 1 | 1 | 0.25 | 1.3 | 1 | 0 | 0 | EUR
815586B | Decal, Star Cool | BR | RP | Replace | 1 | 1 | 0.25 | 11.74 | 1 | 0.25 | 11.74 | EUR
815588C | Decal, controller menu CIM6 | BR | RP | Replace | 1 | 1 | 0.25 | 3.36 | 1 | 0 | 0 | EUR
815590B | Decal, USDA sensor placement | BR | RP | Replace | 1 | 1 | 0.25 | 1.3 | 1 | 0 | 0 | EUR
815594C | Decal, FC bypass | BR | RP | Replace | 1 | 1 | 0.25 | 1.27 | 1 | 0 | 0 | EUR
815595B | Decal, fan rotation direction | BR | RP | Replace | 1 | 1 | 0.25 | 1.12 | 1 | 0 | 0 | EUR
815653D | USDA cover (SCI 9’6") | BR | RP | Replace | 1 | 1 | 0.5 | 6.09 | 1 | 0 | 0 | EUR
815715C | Mounting Bracket, Vacuum Pump | BR | RP | Replace | 1 | 1 | 0.5 | 19 |  |  |  | EUR
815715C | Mounting Bracket, Vacuum Pump | DT | RS | Straighten and Secure component(s) | 1 | 1 | 1 | 0 |  |  |  | EUR
818202B | Cable adapter kit, fan motor | BR | RP | Replace | 1 | 1 | 0.5 | 9.34 |  |  |  | EUR
818209D | Cover plate (2100mm), condenser SCI | DT | GS | Straighten | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818209D | Cover plate (2100mm), condenser SCI | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818209D | Cover plate (2100mm), condenser SCI | BR | RP | Replace | 1 | 1 | 0.25 | 54.73 |  |  |  | EUR
818209D | Cover plate (2100mm), condenser SCI | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818225A | Shield, vacuum pump | MS | IT | Insert | 1 | 1 | 0.6 | 77.04 | 1 |  |  | EUR
818225A | Shield, vacuum pump | BR | RP | Replace | 1 | 1 | 0.6 | 77.04 | 1 | 0 | 0 | EUR
818226A | Sight glass, vacuum pump | BR | RP | Replace | 1 | 1 | 0.75 | 66.36 | 1 | 0 | 0 | EUR
818233B | FC, gasket service kit | BR | RP | Replace | 1 | 1 | 0.5 | 87.96 |  |  |  | EUR
818234A | Valve piping kit, R134a | CH | RP | Replace | 1 | 1 | 1 | 74.16 |  |  |  | EUR
818235B | Sight glass kit, receiver | BR | RP | Replace | 1 | 1 | 1.5 | 43.37 | 1 | 1.5 | 43.37 | EUR
818236B | Melt fuse kit | BR | RP | Replace | 1 | 1 | 1.5 | 19.63 | 1 | 0 | 0 | EUR
818250E | Damper, air exchange module | MS | IT | Insert | 1 | 1 | 0.25 | 37.55 |  |  |  | EUR
818250E | Damper, air exchange module | LO | RE | Resecure | 1 | 1 | 0.1 | 0 |  |  |  | EUR
818250E | Damper, air exchange module | BR | RP | Replace | 1 | 1 | 0.25 | 37.55 |  |  |  | EUR
818260A | Splice kit, AKS to NSK | BR | RP | Replace | 1 | 1 | 0.5 | 42.42 | 1 | 0.25 | 42.42 | EUR
818265B | Screw and washer kit | BR | RP | Replace | 1 | 1 | 0.25 | 0.46 | 1 | 0 | 0.46 | EUR
818266B | Rivets (4.8 mm) | BR | RP | Replace | 1 | 1 | 0.25 | 0.41 | 1 | 0 | 0.41 | EUR
818270B | Air exchange module (75 cmh) | BR | RP | Replace | 1 | 1 | 0.25 | 57.2 | 1 | 0.25 | 57.2 | EUR
818270B | Air exchange module (75 cmh) | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.25 | 0 | EUR
818270C | Air exchange module (75 cmh) | BR | RP | Replace | 1 | 1 | 0.25 | 88.09 | 1 | 0.25 | 88.09 | EUR
818270C | Air exchange module (75 cmh) | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
818274C | Front part, air exchange module (75 cmh) | BR | RP | Replace | 1 | 1 | 0.25 | 36.25 | 1 | 0.25 | 36.25 | EUR
818275A | Motor, air exchange module | BR | RP | Replace | 1 | 1 | 0.25 | 62.78 | 1 | 0.25 | 62.78 | EUR
818276A | Sensor, air exchange | BR | RP | Replace | 1 | 1 | 1 | 163 |  |  |  | EUR
818305C | Controller box, CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 607.73 |  |  |  | EUR
818305C | Controller box, CIM 6 | RA | RR | R&R or Reinstall | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818310C | Controller door, CIM 6 | MS | IT | Insert | 1 | 1 | 0.25 | 242.16 |  |  |  | EUR
818310C | Controller door, CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 242.16 | 1 | 0 | 0 | EUR
818351A | Decal, electrical diagram CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 7.81 | 1 | 0 | 0 | EUR
818356B | Oil filter w. filter adapter, vacuum pump | BR | RP | Replace | 1 | 1 | 0.6 | 100.94 | 1 | 0 | 0 | EUR
818370A | Black Cover, FC 2.0 | BR | RP | Replace | 1 | 1 | 1 | 43.41 |  |  |  | EUR
818375A | Mounting kit, compressor | BR | RP | Replace | 1 | 1 | 0.5 | 16.4 |  |  |  | EUR
818513A | User panel, CIM 6 | MS | IT | Insert | 1 | 1 | 0.25 | 923.73 |  |  |  | EUR
818513A | User panel, CIM 6 | BR | RP | Replace | 1 | 1 | 0.5 | 923.73 |  |  |  | EUR
818518C | Transformer (105 VA), CIM 6 | MS | IT | Insert | 1 | 1 | 0.38 | 113.11 |  |  |  | EUR
818518C | Transformer (105 VA), CIM 6 | BR | RP | Replace | 1 | 1 | 0.75 | 113.11 | 1 | 0 | 0 | EUR
818521B | Contactor | MS | IT | Insert | 1 | 1 | 0.38 | 31.7 |  |  |  | EUR
818521B | Contactor | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818521B | Contactor | BR | RP | Replace | 1 | 1 | 0.75 | 31.7 |  |  |  | EUR
818521B | Contactor | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 |  |  |  | EUR
818522C | Auxiliary contact (red dot) | BR | RP | Replace | 1 | 1 | 0.5 | 37.95 |  |  |  | EUR
818522F | Auxiliary contact (white dot) | BR | RP | Replace | 1 | 1 | 0.5 | 14.12 |  |  |  | EUR
818522F | Auxiliary contact (white dot) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
818523C | Interlock, contactor | BR | RP | Replace | 1 | 1 | 0.5 | 5.51 | 1 | 0.5 | 5.51 | EUR
818525C | On/off switch, CIM 6 | BR | RP | Replace | 1 | 1 | 0.5 | 71.44 | 1 | 0 | 0 | EUR
818527C | Keypad, CIM 6 | MS | IT | Insert | 1 | 1 | 0.25 | 82.21 |  |  |  | EUR
818527C | Keypad, CIM 6 | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818527C | Keypad, CIM 6 | BR | RP | Replace | 1 | 1 | 0.5 | 82.21 |  |  |  | EUR
818527C | Keypad, CIM 6 | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
818530A | Fuse, 10 A CIM 5 | MS | IT | Insert | 1 | 1 | 0.25 | 1.82 | 1 | 0.25 | 1.82 | EUR
818530A | Fuse, 10 A CIM 5 | BR | RP | Replace | 1 | 1 | 0.25 | 1.82 | 1 | 0.25 | 1.82 | EUR
818531A | Fuse (0.4 A) | MS | IT | Insert | 1 | 1 | 0.25 | 1.47 | 1 | 0.25 | 1.47 | EUR
818531A | Fuse (0.4 A) | BR | RP | Replace | 1 | 1 | 0.25 | 1.47 | 1 | 0.25 | 1.47 | EUR
818534A | Fuse holder (0.4 A) | MS | IT | Insert | 1 | 1 | 0.5 | 16.38 | 1 | 0.5 | 16.38 | EUR
818534A | Fuse holder (0.4 A) | BR | RP | Replace | 1 | 1 | 1 | 16.38 | 1 | 1 | 16.38 | EUR
818537A | Humidity sensor, CIM 6 | MS | IT | Insert | 1 | 1 | 0.38 | 265.53 |  |  |  | EUR
818537A | Humidity sensor, CIM 6 | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818537A | Humidity sensor, CIM 6 | BR | RP | Replace | 1 | 1 | 0.75 | 265.53 |  |  |  | EUR
818537A | Humidity sensor, CIM 6 | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 |  |  |  | EUR
818538A | Heating element, vacuum pump | BR | RP | Replace | 1 | 1 | 0.6 | 415.82 | 1 | 0 | 0 | EUR
818542C | Cover foil, LED CIM6 | MS | IT | Insert | 1 | 1 | 0.25 | 26.2 |  |  |  | EUR
818542C | Cover foil, LED CIM6 | BR | RP | Replace | 1 | 1 | 0.3 | 26.2 |  |  |  | EUR
818546B | Fuse, 0.63 A | MS | IT | Insert | 1 | 1 | 0.25 | 1.53 | 1 | 0.25 | 1.53 | EUR
818546B | Fuse, 0.63 A | BR | RP | Replace | 1 | 1 | 0.25 | 1.53 | 1 | 0.25 | 1.53 | EUR
818553A | Solenoid coil (14 W 24V DC), CIM 5 | BR | RP | Replace | 1 | 1 | 0.5 | 57.92 | 1 | 0.5 | 57.92 | EUR
818554A | Solenoid coil (18 W 24V DC), CIM 5 | BR | RP | Replace | 1 | 1 | 0.5 | 54.4 | 1 | 0.5 | 54.4 | EUR
818559A | Power plug | BR | RP | Replace | 1 | 1 | 0.5 | 6.69 | 1 | 0 | 0 | EUR
818564B | Cable, pressure transmitter (NSK) | BR | RP | Replace | 1 | 1 | 1 | 42.03 |  |  |  | EUR
818601B | Valve plate, compressor LP | BR | RP | Replace | 1 | 1 | 0.5 | 364.73 |  |  |  | EUR
818602B | Valve plate, compressor HP | BR | RP | Replace | 1 | 1 | 1.5 | 376.48 |  |  |  | EUR
818605B | Cylinder head gasket kit | BR | RP | Replace | 1 | 1 | 1 | 37.28 |  |  |  | EUR
818619C | Cap, stop valve (M18x1.5) | BR | RP | Replace | 1 | 1 | 0.25 | 9.94 | 1 | 0 | 0 | EUR
818623C | Service valve, compressor LP | MS | IT | Insert | 1 | 1 | 0.75 | 321.76 |  |  |  | EUR
818623C | Service valve, compressor LP | LO | RE | Resecure | 1 | 1 | 0.38 | 0 |  |  |  | EUR
818623C | Service valve, compressor LP | BR | RP | Replace | 1 | 1 | 1.5 | 321.76 |  |  |  | EUR
818623C | Service valve, compressor LP | RA | RR | R&R or Reinstall | 1 | 1 | 1.5 | 0 |  |  |  | EUR
818625D | Evacuation valve, LP | BR | RP | Replace | 1 | 1 | 0.25 | 3.72 | 1 | 0 | 0 | EUR
818626B | Evacuation valve, HP | BR | RP | Replace | 1 | 1 | 0.25 | 5.26 | 1 | 0 | 0 | EUR
818629B | Cap, service valve LP | BR | RP | Replace | 1 | 1 | 0.25 | 20.96 | 1 | 0 | 0 | EUR
818630B | Cap, compressor stop valve | BR | RP | Replace | 1 | 1 | 0.25 | 20.96 | 1 | 0 | 0 | EUR
818631B | Cap, evacuation valve LP | BR | RP | Replace | 1 | 1 | 0.25 | 8.97 | 1 | 0 | 0 | EUR
818632B | Cap, evacuation valve HP | MS | IT | Insert | 1 | 1 | 0.25 | 8.97 | 1 | 0.25 | 8.97 | EUR
818632B | Cap, evacuation valve HP | BR | RP | Replace | 1 | 1 | 0.25 | 8.97 | 1 | 0.25 | 8.97 | EUR
818633B | Sight glass, compressor | BR | RP | Replace | 1 | 1 | 0.75 | 114.38 | 1 | 0 | 0 | EUR
818634B | O-ring, sight glass | BR | RP | Replace | 1 | 1 | 0.75 | 5.9 | 1 | 0 | 0 | EUR
818639B | Terminal block, compressor | BR | RP | Replace | 1 | 1 | 0.75 | 96.3 | 1 | 0 | 0 | EUR
818656B | Gasket, compressor stop valve | BR | RP | Replace | 1 | 1 | 0.25 | 9.17 | 1 | 0.25 | 9.17 | EUR
818658B | Compressor | MS | IT | Insert | 1 | 1 | 1.63 | 3854.02 |  |  |  | EUR
818658B | Compressor | BR | RP | Replace | 1 | 1 | 3.25 | 3854.02 |  |  |  | EUR
818658B | Compressor | RA | RR | R&R or Reinstall | 1 | 1 | 3.25 | 0 |  |  |  | EUR
818658B | Compressor | DY | WW | Water Wash | 1 | 1 | 0.25 | 5 |  |  |  | EUR
818660B | Bolt, service valve LP | BR | RP | Replace | 1 | 1 | 0.25 | 15.85 | 1 | 0 | 15.85 | EUR
818661B | Gasket, service valve LP | BR | RP | Replace | 1 | 1 | 0.25 | 5.38 | 1 | 0.25 | 5.38 | EUR
818665C | Cable gland, M20 | BR | RP | Replace | 1 | 1 | 0.5 | 2.52 | 1 | 0.25 | 2.52 | EUR
818667B | Oil BSE 55, compressor | BR | RP | Replace | 1 | 1 | 0.5 | 52.9 | 1 |  | 52.9 | EUR
818668C | Oil (1 L), vacuum pump | BR | RP | Replace | 1 | 1 | 0.6 | 84.99 |  |  |  | EUR
818725A | Filter adapter, vacuum pump | MS | IT | Insert | 1 | 1 | 0.1 | 89.05 |  |  |  | EUR
818725A | Filter adapter, vacuum pump | LO | RE | Resecure | 1 | 1 | 0.05 | 0 |  |  |  | EUR
818725A | Filter adapter, vacuum pump | BR | RP | Replace | 1 | 1 | 0.15 | 89.05 |  |  |  | EUR
818725A | Filter adapter, vacuum pump | RA | RR | R&R or Reinstall | 1 | 1 | 0.15 | 0 |  |  |  | EUR
818738A | Filter dryer, R134a and R513A | LK | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818738A | Filter dryer, R134a and R513A | BR | RP | Replace | 1 | 1 | 0.5 | 15.45 |  |  |  | EUR
818741A | Sensor, O2, CA | MS | IT | Insert | 1 | 1 | 0.38 | 678.62 |  |  |  | EUR
818741A | Sensor, O2, CA | BR | RP | Replace | 1 | 1 | 0.75 | 678.62 |  |  |  | EUR
818745A | Sensor, CO2, CA/AV | MS | IT | Insert | 1 | 1 | 0.38 | 362.44 |  |  |  | EUR
818745A | Sensor, CO2, CA/AV | BR | RP | Replace | 1 | 1 | 0.75 | 362.44 | 1 | 0 | 0 | EUR
818760B | Connector plug, solenoid coil | BR | RP | Replace | 1 | 1 | 0.5 | 23.9 | 1 | 0.25 | 23.9 | EUR
818764A | Cable, FC 2.0 to compressor | BR | RP | Replace | 1 | 1 | 0.75 | 36.5 | 1 | 0 | 0 | EUR
818770B | 2 pin connector (3.81mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 4.02 | 1 | 0.25 | 4.02 | EUR
818771B | 3 pin connector (3.81 mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 5.11 | 1 | 0.25 | 5.11 | EUR
818772B | 4 pin connector (3.81mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 6.23 | 1 | 0.25 | 6.23 | EUR
818773B | 5 pin connector (3.81mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 7.32 | 1 | 0.25 | 7.32 | EUR
818774B | 6 pin connector (3.81mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 8.4 | 1 | 0.25 | 8.4 | EUR
818775B | 10 pin connector (3.81mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 13.2 | 1 | 0.25 | 13.2 | EUR
818776B | 4 pin connector (3.81mm/0°) | BR | RP | Replace | 1 | 1 | 0.5 | 4.97 | 1 | 0.25 | 4.97 | EUR
818777B | 5 pin connector (3.81mm/0°) | BR | RP | Replace | 1 | 1 | 0.5 | 7.33 | 1 | 0.25 | 7.33 | EUR
818778B | 2 pin connector (5.08mm/90°) | BR | RP | Replace | 1 | 1 | 0.5 | 2.99 | 1 | 0.25 | 2.99 | EUR
818783A | Motor, evaporator fan | MS | IT | Insert | 1 | 1 | 0.5 | 364.48 | 1 | 0.5 | 364.48 | EUR
818783A | Motor, evaporator fan | BR | RP | Replace | 1 | 1 | 1 | 364.48 | 1 | 1 | 364.48 | EUR
818783A | Motor, evaporator fan | RA | RR | R&R or Reinstall | 1 | 1 | 1 | 0 | 1 | 1 | 0 | EUR
818790A | Seal, controller door CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 22.62 | 1 | 0 | 0 | EUR
818792A | Motor, Condenser Fan | BR | RP | Replace | 1 | 1 | 1.25 | 345.46 | 1 | 0 | 0 | EUR
818792A | Motor, Condenser Fan | RA | RR | R&R or Reinstall | 1 | 1 | 1.25 | 0 |  |  |  | EUR
818795A | Fan motor support, condenser | BR | RP | Replace | 1 | 1 | 0.5 | 63.67 |  |  |  | EUR
818800B | Drain plug, container | BR | RP | Replace | 1 | 1 | 0.25 | 5.1 | 1 | 0.25 | 5.1 | EUR
818905A | Power measurement module, CIM 6.2 | BR | RP | Replace | 1 | 1 | 0.5 | 453.18 | 1 | 0 | 0 | EUR
818908A | Main circuit breaker, CIM 6 | MS | IT | Insert | 1 | 1 | 0.5 | 119.53 |  |  |  | EUR
818908A | Main circuit breaker, CIM 6 | LO | RE | Resecure | 1 | 1 | 0.25 | 0 |  |  |  | EUR
818908A | Main circuit breaker, CIM 6 | BR | RP | Replace | 1 | 1 | 1 | 119.53 | 1 | 0 | 0 | EUR
818908A | Main circuit breaker, CIM 6 | RA | RR | R&R or Reinstall | 1 | 1 | 1 | 0 |  |  |  | EUR
818925A | Controller module, USB CIM 6.2 | MS | IT | Insert | 1 | 1 | 0.38 | 1401.26 |  |  |  | EUR
818925A | Controller module, USB CIM 6.2 | BR | RP | Replace | 1 | 1 | 0.75 | 1401.26 | 0 | 0 | 0 | EUR
818930B | Contactor | MS | IT | Insert | 1 | 1 | 0.38 | 32.87 | 1 | 0.38 | 32.87 | EUR
818930B | Contactor | BR | RP | Replace | 1 | 1 | 0.75 | 32.87 | 1 | 0.75 | 32.87 | EUR
818930B | Contactor | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 | 1 | 0.25 |  | EUR
818931B | Auxiliary contact | BR | RP | Replace | 1 | 1 | 0.5 | 11.04 | 0 | 0.5 | 11.04 | EUR
818931B | Auxiliary contact | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
818932B | Interlock, contactor | BR | RP | Replace | 1 | 1 | 0.5 | 8.83 | 1 | 0.5 | 8.83 | EUR
818940A | Sensor, temperature (35 cm) | MS | IT | Insert | 1 | 1 | 0.38 | 26.85 | 1 | 0.38 | 26.85 | EUR
818940A | Sensor, temperature (35 cm) | BR | RP | Replace | 1 | 1 | 0.75 | 26.85 | 1 | 0.75 | 26.85 | EUR
818965B | Frequency converter 2.1 | MS | IT | Insert | 1 | 1 | 1.63 | 1196.54 |  |  |  | EUR
818965B | Frequency converter 2.1 | BR | RP | Replace | 1 | 1 | 2 | 1196.54 |  |  |  | EUR
819501A | High Pressure Switch | BR | RP | Replace | 1 | 1 | 0.5 | 46.94 | 1 | 0 | 0 | EUR
819503D | Pressure transmitter, LP DST | BR | RP | Replace | 1 | 1 | 0.5 | 74.39 |  |  |  | EUR
819504D | Pressure transmitter, HP DST | MS | IT | Insert | 1 | 1 | 0.25 | 76.03 |  |  |  | EUR
819504D | Pressure transmitter, HP DST | BR | RP | Replace | 1 | 1 | 0.5 | 76.03 |  |  |  | EUR
819504D | Pressure transmitter, HP DST | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
819526B | Coil, condenser | BR | RP | Replace | 1 | 1 | 4 | 1176.1 |  |  |  | EUR
819526B | Coil, condenser | RA | RR | R&R or Reinstall | 1 | 1 | 4 | 0 |  |  |  | EUR
819526B | Coil, condenser | DY | WW | Water Wash | 1 | 1 | 0.25 | 5 |  |  |  | EUR
819530B | Vacuum pump with plug | MS | IT | Insert | 1 | 1 | 1 | 2545.07 |  |  |  | EUR
819530B | Vacuum pump with plug | BR | RP | Replace | 1 | 1 | 2 | 2545.07 |  |  |  | EUR
819530B | Vacuum pump with plug | RA | RR | R&R or Reinstall | 1 | 1 | 0.6 | 0 |  |  |  | EUR
819542C | Fan blade, evaporator | MS | IT | Insert | 1 | 1 | 0.38 | 32.27 | 1 | 0.38 | 32.27 | EUR
819542C | Fan blade, evaporator | BR | RP | Replace | 1 | 1 | 0.75 | 32.27 | 1 | 0.75 | 32.27 | EUR
819543B | Fan blade, condenser | BR | RP | Replace | 1 | 1 | 0.5 | 155.97 | 1 | 0 | 0 | EUR
819572C | Cable gland, M12 | BR | RP | Replace | 1 | 1 | 0.5 | 1.92 | 1 | 0.25 | 1.92 | EUR
819595B | Retriever socket 5 pin | BR | RP | Replace | 1 | 1 | 0.5 | 27.76 | 1 | 0.5 | 27.76 | EUR
819605A | Pressure Transmitter -1-0 Bar | BR | RP | Replace | 1 | 1 | 0.5 | 49.56 |  |  |  | EUR
819617B | Self-locking nut M6 | BR | RP | Replace | 1 | 1 | 0.25 | 0.4 | 1 | 0.15 | 0.4 | EUR
819630C | Cap, retriever socket 5 pin | BR | RP | Replace | 1 | 1 | 0.25 | 9.88 | 1 | 0.25 | 9.88 | EUR
819633A | USDA socket 3 pin | BR | RP | Replace | 1 | 1 | 0.5 | 24.35 | 1 | 0.25 | 24.35 | EUR
819634A | Cap, USDA socket | BR | RP | Replace | 1 | 1 | 0.25 | 8.21 | 1 | 0.25 | 8.21 | EUR
819650B | Cable gland, M32 | BR | RP | Replace | 1 | 1 | 0.5 | 5.17 | 1 | 0.25 | 5.17 | EUR
819672C | Cable gland, M16x1.5 | BR | RP | Replace | 1 | 1 | 0.5 | 1.74 | 1 | 0.25 | 1.74 | EUR
819693D | Screw, controller door CIM 6 | MS | IT | Insert | 1 | 1 | 0.25 | 9.43 | 1 | 0 | 9.43 | EUR
819693D | Screw, controller door CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 9.43 | 1 | 0 | 9.43 | EUR
819694B | Screw retainer | MS | IT | Insert | 1 | 1 | 0.15 | 0.89 | 1 | 0.15 | 0.89 | EUR
819694B | Screw retainer | BR | RP | Replace | 1 | 1 | 0.15 | 0.89 | 1 | 0.15 | 0.89 | EUR
819695C | Receptacle screw, controller door | BR | RP | Replace | 1 | 1 | 0.25 | 2.54 | 1 | 0 | 2.54 | EUR
819737D | Ecomomizer valve, R134a | BR | RP | Replace | 1 | 1 | 2.25 | 75.1 |  |  |  | EUR
819738D | Expansion valve, evaporator R134a | BR | RP | Replace | 1 | 1 | 2.25 | 76.41 |  |  |  | EUR
819746B | Nipple, pressure transmitter | BR | RP | Replace | 1 | 1 | 0.6 | 10.6 | 1 | 0 | 0 | EUR
819754A | schräder angle valve (Ver.1) | BR | RP | Replace | 1 | 1 | 0.25 | 49.67 |  |  |  | EUR
819877A | Hose connector | BR | RP | Replace | 1 | 1 | 0.6 | 13.53 | 1 | 0 | 0 | EUR
868513A | User panel, CIM 6 (remanufactured)* | MS | IT | Insert | 1 | 1 | 0.25 | 461.75 |  |  |  | EUR
868513A | User panel, CIM 6 (remanufactured)* | BR | RP | Replace | 1 | 1 | 0.5 | 461.75 | 1 | 0 | 0 | EUR
881504C | Mount plate, evaporator fans SCU | LO | RE | Resecure | 1 | 1 | 2 | 1 |  |  |  | EUR
881504C | Mount plate, evaporator fans SCU | BR | RP | Replace | 1 | 1 | 2 | 272.23 |  |  |  | EUR
881504D | Mount plate, CA evaporator fans | MS | IT | Insert | 1 | 1 | 0.75 | 161.04 | 1 | 0.75 | 161.04 | EUR
881504D | Mount plate, CA evaporator fans | BR | RP | Replace | 1 | 1 | 1.5 | 161.04 | 1 | 1.5 | 161.04 | EUR
881523A | Defrost heater, evaporator | MS | IT | Insert | 1 | 1 | 0.5 | 31.42 | 1 | 0.25 | 31.42 | EUR
881523A | Defrost heater, evaporator | BR | RP | Replace | 1 | 1 | 1 | 31.42 | 1 | 0.25 | 31.42 | EUR
881525A | Coil, evaporator | MS | IT | Insert | 1 | 1 | 3 | 1723.7 |  |  |  | EUR
881525A | Coil, evaporator | LO | RE | Resecure | 1 | 1 | 1.5 | 0 |  |  |  | EUR
881525A | Coil, evaporator | BR | RP | Replace | 1 | 1 | 6 | 1723.7 |  |  |  | EUR
881525A | Coil, evaporator | RA | RR | R&R or Reinstall | 1 | 1 | 6 | 0 |  |  |  | EUR
881527A | Evaporator coil | MS | IT | Insert | 1 | 1 | 3 | 1691.17 |  |  |  | EUR
881527A | Evaporator coil | LO | RE | Resecure | 1 | 1 | 1.5 | 0 |  |  |  | EUR
881527A | Evaporator coil | BR | RP | Replace | 1 | 1 | 6 | 1691.17 |  |  |  | EUR
881527A | Evaporator coil | RA | RR | R&R or Reinstall | 1 | 1 | 6 | 0 |  |  |  | EUR
881550A | Plug, evaporator service hole | BR | RP | Replace | 1 | 1 | 0.25 | 10.6 | 1 | 0.25 | 10.6 | EUR
885514A | Unit back plate lower, SCI (9’6") | BR | RP | Replace | 1 | 1 | 0.5 | 92.29 | 1 | 0 | 0 | EUR
886554B | Solenoid coil, 11W 24VAC | MS | IT | Insert | 1 | 1 | 0.25 | 53.68 |  |  |  | EUR
886554B | Solenoid coil, 11W 24VAC | BR | RP | Replace | 1 | 1 | 0.5 | 53.68 |  |  |  | EUR
886875B | Rechargeable replacement battery pack, CIM 6 | MS | IT | Insert | 1 | 1 | 0.25 | 81.84 |  |  |  | EUR
886875B | Rechargeable replacement battery pack, CIM 6 | BR | RP | Replace | 1 | 1 | 0.25 | 81.84 |  |  |  | EUR
889510A | Economizer valve, R134a an R513A | MS | IT | Insert | 1 | 1 | 1.13 | 57.14 |  |  |  | EUR
889510A | Economizer valve, R134a an R513A | BR | RP | Replace | 1 | 1 | 2.25 | 57.14 |  |  |  | EUR
889511A | Expansion valve, R134a and R513A | MS | IT | Insert | 1 | 1 | 1.13 | 57.14 |  |  |  | EUR
889511A | Expansion valve, R134a and R513A | BR | RP | Replace | 1 | 1 | 2.25 | 57.14 |  |  |  | EUR
889740C | Hot Gas Valve | BR | RP | Replace | 1 | 1 | 0.5 | 58.97 |  |  |  | EUR
9308 | ECOplug repair insert | CU | IT | Insert | 1 | 1 | 0.1 | 1.6 |  |  |  | EUR
MR-00000-00 | Pre Trip Inspection (PTI) | OD | PI | Pre Trip Inspection | 1 | 1 | 0 | 45.66 | 0 | 0 | 0 | EUR
MR-00000-01 | Running Test / Short PTI | OD | PI | Pre Trip Inspection | 1 | 1 | 0 | 41.09 | 0 | 0 | 0 | EUR
MR-00000-03 | Visual Inspection (ePTI) | OD | IP | Inspect and Report | 1 | 1 | 0 | 32 |  |  |  | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | MS | IN | Install | 1 | 1 | 0.15 | 5 | 0 | 0 | 0 | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | LO | RE | Resecure | 1 | 1 | 0.1 | 0 | 0 | 0 | 0 | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | BR | RP | Replace | 1 | 1 | 0.25 | 5 | 0 | 0 | 0 | EUR
MR-00001-00 | Small Material (Screws, Bolts, Washers, Nuts, Grommets, Tie wraps) | RA | RR | R&R or Reinstall | 1 | 1 | 0.06 | 0 | 0 | 0 |  | EUR
MR-00001-06 | Rivet 5mm ss | MS | IN | Install | 1 | 1 | 0.05 | 0.79 | 1 | 0.05 | 0.79 | EUR
MR-00001-06 | Rivet 5mm ss | BR | RP | Replace | 1 | 1 | 0.05 | 0.79 | 1 | 0.05 | 0.79 | EUR
MR-00004-00 | RRA Test | ZZ | TC | Test/Calibrate | 1 | 1 | 0.25 | 25.95 | 1 | 0.25 | 25.95 | EUR
MR-00004-01 | Labo Test, R134a | ZZ | TC | Test/Calibrate | 1 | 1 | 0 | 160 |  |  |  | EUR
MR-00005-00 | Markings, serial number & prefix (Complete) | ML | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 |  |  |  | EUR
MR-00005-00 | Markings, serial number & prefix (Complete) | ML | RP | Replace | 1 | 1 | 0.25 | 6.37 | 0 | 0 | 0 | EUR
MR-00005-01 | Markings, single digit / character | ML | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 |  |  |  | EUR
MR-00005-01 | Markings, single digit / character | ML | RP | Replace | 1 | 1 | 0.25 | 1.06 | 1 |  | 1.06 | EUR
MR-00006-00 | Leak Test (Nitrogen) | ZZ | MR | Running test | 1 | 1 | 0.5 | 8.49 | 1 | 0.5 | 8.49 | EUR
MR-00006-01 | Flushing (Nitrogen) | ZZ | ER | Evacuate, recycle / Recharge system | 1 | 1 | 0.5 | 25.38 | 0 | 0 | 0 | EUR
MR-00008-00 | Pump Down | ZZ | DR | Drain | 1 | 1 | 0.5 | 0 | 0 | 0 | 0 | EUR
MR-00009-00 | Gas, R134a | CT | RM | Remove Component (without replacement) | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00009-00 | Gas, R134a | MS | RP | Replace | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00100-02 | 460V Cable, Cold Shrink | BR | SI | Splice Cable | 1 | 1 | 0.5 | 26.4 | 1 | 0.5 | 26.4 | EUR
MR-00100-03 | 460V Cable, Heat Shrink | BR | SI | Splice Cable | 1 | 1 | 0.5 | 8.58 | 1 | 0.5 | 8.58 | EUR
MR-00100-04 | 460V Plug, CEE32a 3h | BR | RP | Replace | 1 | 1 | 0.5 | 4.6 | 0 | 0 | 0 | EUR
MR-00100-04 | 460V Plug, CEE32a 3h | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0.62 |  |  |  | EUR
MR-00100-06 | Power Plug Electrical Connections | BR | RP | Replace | 1 | 1 | 0 | 1 | 0 |  | 0 | EUR
MR-00110-00 | Wiring, Electrical (per connection) | MS | IT | Insert | 1 | 1 | 0.25 | 1.23 | 1 | 0.25 | 1.23 | EUR
MR-00110-00 | Wiring, Electrical (per connection) | BR | RP | Replace | 1 | 1 | 0.25 | 1.23 | 1 | 0.25 | 1.23 | EUR
MR-00110-00 | Wiring, Electrical (per connection) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 | 1 | 0.25 |  | EUR
MR-00110-00 | Wiring, Electrical (per connection) | BR | RW | Rewire | 1 | 1 | 0.25 | 1.23 | 1 | 0.05 | 1.23 | EUR
MR-00110-01 | Wiring, Insulation | BR | RP | Replace | 1 | 1 | 0.25 | 1.84 | 1 | 0.05 | 1.84 | EUR
MR-00120-00 | Wiring, Purfresh Control Box | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0.75 | 0 | 0 | 0 | 0 | EUR
MR-00130-00 | Liventus | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0 | 0 | 0 | 0 | 0 | EUR
MR-00130-01 | Maxtend | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00130-02 | Transfresh | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00130-03 | Purfresh | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0 | 0 | 1 | 0 | 0 | EUR
MR-00130-05 | Interrogator Mount (incl. 4 * rivet) | LO | RE | Resecure | 1 | 1 | 0.25 | 4.06 | 1 | 0 | 0 | EUR
MR-00131-00 | Sensor, USDA (MSC Stock) | ZZ | IN | Install | 1 | 1 | 0.4 | 0 | 1 | 0.4 |  | EUR
MR-00131-00 | Sensor, USDA (MSC Stock) | ZZ | RM | Remove Component (without replacement) | 1 | 1 | 0.25 | 0 | 1 | 0.25 |  | EUR
MR-00131-01 | Calibration sensors | OC | TC | Test/Calibrate | 1 | 1 | 1 | 0 | 1 | 1 | 0 | EUR
MR-00200-00 | Copper Tubing, 1/4" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 5.62 | 1 | 0.1 | 2.81 | EUR
MR-00200-01 | Copper Tubing, 3/8" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 8.92 | 1 | 0.1 | 4.47 | EUR
MR-00200-02 | Copper Tubing, 1/2" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 13.24 | 1 | 0.1 | 6.62 | EUR
MR-00200-03 | Copper Tubing, 5/8" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 16.52 | 1 | 0.1 | 8.26 | EUR
MR-00200-04 | Copper Tubing, 7/8" (10cm) | BR | RP | Replace | 1 | 1 | 1 | 11.26 | 1 | 0.1 | 5.63 | EUR
MR-00200-05 | Copper Tubing, 1"1/8 (10cm) | BR | RP | Replace | 1 | 1 | 1 | 13.85 | 1 | 0.1 | 6.93 | EUR
MR-00201-00 | Copper Tubing, Leak | CH | WD | Weld | 1 | 1 | 1 | 21.32 | 1 | 1 | 21.32 | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | MS | IT | Insert | 1 | 1 | 0.75 | 8.12 | 1 | 0 | 8.12 | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | LO | RE | Resecure | 1 | 1 | 0.75 | 0 |  |  |  | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | BR | RP | Replace | 1 | 1 | 0.75 | 8.12 | 1 | 0 | 8.12 | EUR
MR-00202-00 | Copper Tubing, Insulation (30cm) | RA | RR | R&R or Reinstall | 1 | 1 | 0.75 | 0 | 1 | 0 | 0 | EUR
MR-00204-00 | Silverbraze | LK | WD | Weld | 1 | 1 | 0 | 21.32 | 1 |  | 21.32 | EUR
MR-00205-00 | Insulation Tape, Cork (50 cm) | MS | IT | Insert | 1 | 1 | 0.38 | 2.03 | 1 | 0.13 | 2.03 | EUR
MR-00205-00 | Insulation Tape, Cork (50 cm) | BR | RP | Replace | 1 | 1 | 0.5 | 2.03 | 1 | 0.25 | 2.03 | EUR
MR-00210-00 | Condenser Coil, Guard | DT | RS | Straighten and Secure component(s) | 1 | 1 | 0.25 | 0 |  |  |  | EUR
MR-00210-01 | Guard, Compressor/Cable | DT | RS | Straighten and Secure component(s) | 1 | 1 | 0.75 | 0 |  |  |  | EUR
MR-00220-01 | Acid Away | ZZ | TC | Test/Calibrate | 1 | 1 | 0.25 | 50 | 0 | 0 | 0 | EUR
MR-00220-02 | Vacuum | ZZ | ZZ | Not Applicable | 1 | 1 | 1 | 0 | 1 | 1 | 0 | EUR
MR-00300-01 | Panel, Bulkhead, Upper | BR | RP | Replace | 1 | 1 | 0.5 | 223 |  |  |  | EUR
MR-00300-01 | Panel, Bulkhead, Upper | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 | 0 | 0 | 0 | EUR
MR-00300-02 | Panel, Bulkhead, Lower | BR | RP | Replace | 1 | 1 | 0.5 | 155.18 |  |  |  | EUR
MR-00300-02 | Panel, Bulkhead, Lower | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 18.27 | 0 | 0 | 0 | EUR
MR-00300-03 | Panel, Bulkhead, Lower (Small) | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 6.09 | 1 | 0 | 0 | EUR
MR-00300-04 | Panel, Bulkhead, screws | MS | IN | Install | 1 | 10 | 0.15 | 1.9 | 10 | 0.15 | 1.9 | EUR
MR-00300-04 | Panel, Bulkhead, screws | BR | RP | Replace | 1 | 10 | 0.25 | 1.9 | 10 | 0.15 | 1.9 | EUR
MR-00310-00 | Valve, TXV Bulb to fit in position | LO | RE | Resecure | 1 | 1 | 1 | 1.02 | 2 | 0 | 0 | EUR
MR-00311-00 | Valve, King, Spindle | LO | RE | Resecure | 1 | 1 | 0.15 | 1 |  |  |  | EUR
MR-00311-01 | Valve, Suction, Spindle | LO | RE | Resecure | 1 | 1 | 0.15 | 1 |  |  |  | EUR
MR-00311-02 | Valve, Discharge, Spindle | LO | RE | Resecure | 1 | 1 | 0.15 | 1 |  |  |  | EUR
MR-00500-00 | Refrigeration Unit (2nd hand) | BR | RP | Replace | 1 | 1 | 6 | 59.89 | 0 | 0 | 0 | EUR
MR-00500-00 | Refrigeration Unit (2nd hand) | RA | RR | R&R or Reinstall | 1 | 1 | 6 | 59.89 |  |  |  | EUR
MR-00700-00 | Heavy damaged machinery / still needs estimate | ZZ | CR | Combined repair item | 1 | 1 | 0 | 10000 |  |  |  | EUR
ORBCOMM-CT3500 | Modem | MS | IN | Install | 1 | 1 | 0.5 | 0 |  |  |  | EUR
ORBCOMM-CT3500 | Modem | RA | RR | R&R or Reinstall | 1 | 1 | 0.5 | 0 |  |  |  | EUR
ORBCOMM-CT3500 | Modem | BR | RW | Rewire | 1 | 1 | 0.5 | 0 |  |  |  | EUR
Toegepaste filters: [Opgenomen (1)] Star Cool (UnitModelName) + 111111 (UnitModelnbr_from) + 111111 (UnitModelnbr_To)